## Sensors
Sensor Address | Analog Pin | Parameter | Sensor Offset Value | EPROM Start Address | EPROM End Address | Sensor Calibration Value | EPROM Start Address2 | EPROM End Address2
0 | 1 | Battery 1 Voltage | 0 | 41 | 42 | 25 | 61 | 64
1 | 1 | Battery 2 Voltage | 0 | 43 | 44 | 25 | 65 | 68
2 | 1 | Battery 3 Voltage | 0 | 45 | 46 | 25 | 69 | 72
3 | 1 | Battery 4 Voltage | 0 | 47 | 48 | 25 | 73 | 76
4 | 1 | Combi Voltage | 0 | 49 | 50 | 100 | 77 | 80
5 | 1 | Temprature | 0 | 51 | 52 |  | 81 | 84
6 | 1 | Battery Current | 512 | 53 | 54 |  | 85 | 88
7 | 1 | Mains Current | 512 | 55 | 56 |  | 89 | 92
8 | 1 | MPPT Current | 512 | 57 | 58 |  | 93 | 96
9 | 1 | Not Used
10 | 1 | Not Used
11 | 1 | Not Used
12 | 1 | Not Used
13 | 1 | Not Used
14 | 1 | Not Used
15 | 1 | Not Used

## Timers
Parameter | EPROM Address | Description
No of timers | 0 | The Location is used to store the total no of timers configured
Timer Values | 1 | The location is dynamically used to store the on or off time for a timer
Timer Values | 2 | The location is dynamically used to store the on or off time for a timer
Timer Values | 3 | The location is dynamically used to store the on or off time for a timer
Timer Values | 4 | The location is dynamically used to store the on or off time for a timer
Timer Values | 5 | The location is dynamically used to store the on or off time for a timer
Timer Values | 6 | The location is dynamically used to store the on or off time for a timer
Timer Values | 7 | The location is dynamically used to store the on or off time for a timer
Timer Values | 8 | The location is dynamically used to store the on or off time for a timer
Timer Values | 9 | The location is dynamically used to store the on or off time for a timer
Timer Values | 10 | The location is dynamically used to store the on or off time for a timer
Timer Values | 11 | The location is dynamically used to store the on or off time for a timer
Timer Values | 12 | The location is dynamically used to store the on or off time for a timer
Timer Values | 13 | The location is dynamically used to store the on or off time for a timer
Timer Values | 14 | The location is dynamically used to store the on or off time for a timer
Timer Values | 15 | The location is dynamically used to store the on or off time for a timer
Timer Values | 16 | The location is dynamically used to store the on or off time for a timer
Timer Values | 17 | The location is dynamically used to store the on or off time for a timer
Timer Values | 18 | The location is dynamically used to store the on or off time for a timer
Timer Values | 19 | The location is dynamically used to store the on or off time for a timer
Timer Values | 20 | The location is dynamically used to store the on or off time for a timer

## System Parameters
Parameter | EPROM Address | Description
Cut off Volts | 21 to 24 | Floting point value of for cutoff voltage
Cut off Amps | 25 to 28 | Floting point value of for cutoff Current
SOG Morning | 29
SOG Night | 30
Data Logging | 31
IP Address Byte 1 | 32 | CS IP Address
IP Address Byte 2 | 33 | CS IP Address
IP Address Byte 3 | 34 | CS IP Address
IP Address Byte 4 | 35 | CS IP Address
Port No | 36 to 37